AMENDMENT No 1
to

Bidding Documents

Procurement of 

Science Laboratory Equipment and Materials for Schools 

of Armenia in Tavush
ICB No: 1.1
Project: EU4Innovation
Purchaser: “Center for Education Projects” piu sa
Ministry of Education, Science, CULTURE AND SPORT
Republic of Armenia

     PART 2. Section VII.   Schedule of Requirements
The following items of Section VII.  Schedule of Requirements 3.Technical Specifications 
Lot 1: Physics Laboratory Equipment: items 25, 26, 31 are modified and will now read:

	Lot 1: Physics Laboratory Equipment

	REQUIRED SPECIFICATIONS
	
	PROPOSED SPECIFICATIONS

	N
	Name
	Total quantity
	Technical Parameters
	Availability of the Manufacturer Authorization Form/Certificate of Origin (yes/no)
	Trademark & Model:

Country:

Specifications /in detail/:

	25
	Digital Multimeter with Thermocouple
	107 unit
	digital multimeter features a large, easy-to-read LCD screen and a single rotary dial for easily switching between testing modes.
	Yes
	

	26
	Set of devices to investigate Earth's magnetic field
	107 unit
	1 pair Steel Bar Magnets
1 Horseshoe Magnet
Floating Magnets
Revolution                              
Magnetic Chips
Iron Filings Saver
Magnetic Field Viewer
Magnetic Globe
3D Magnetic Compass
Clear Compasses 20-pkg.
	Yes
	

	31
	Group of Miniature Bulbs with Base
	214 unit
	from 6.3V, 3.2V, or 2.5V.
	No
	


Lot 4: Chemistry-Biology Laboratory Accessories: items 19,20,21 are modified and will now read:

	Lot 4: Chemistry-Biology Laboratory Accessories

	REQUIRED SPECIFICATIONS
	
	PROPOSED SPECIFICATIONS

	N
	Name
	Total quantity
	Technical Parameters
	Availability of the Manufacturer Authorization Form/Certificate of Origin (yes/no)
	Trademark & Model:

Country:

Specifications /in detail/:

	19
	silicone hose
	1950 meters
	4mm /the inside diameter of the cross-section of the hose/
	No
	

	20
	silicone hose
	1950 meters
	6mm /the inside diameter of the cross-section of the hose/
	No
	

	21
	silicone hose
	1950 meters
	2mm /the inside diameter of the cross-section of the hose/
	No
	


The following item of Section VII.  Schedule of Requirements 1.  List of Goods and Delivery Schedule – LOT 1 is modified and will now read:
	Line Item

N(
	Description of Goods 
	Physical unit 
	Quantity per each list of schools
	Final (Project Site) Destination as specified in BDS 
	Delivery  (as per Incoterms) Date

	
	
	
	List 1 

13 schools
	List 2 

7 schools
	List 3 

28 schools
	List 4 

18 schools
	List 5 

4 schools
	List 6 

3 schools
	List 7 

4 schools
	List 8 

3 schools
	
	Earliest Delivery Date (no. of weeks)
	Latest Delivery Date 

(no. of weeks)


	Bidder’s  offered Delivery date [to be provided by the bidder]

	26
	Set of devices to investigate Earth's magnetic field
	unit
	1
	2
	1
	2
	0
	2
	1
	2
	specified in the Site Table /Delivery list/
	11
	13
	


All other terms and conditions of the document remain unchanged.
